## Workflow
Example workflow TPS
Step | Responsible | Check (if necessary) | Substep (description of activity)
1. Patient introduction | Technician |  | checks patients credentials,
validates and imports CT dataset
Optionally imports additional image data
|  | Physician | Registers datasets
Adds structures, external, couch, support devices and,
|  | Physician | if educated in this area: OAR.
If applicable, sets treatment site
Checks if dataset is complete for target contouring
2. Contouring | Physician |  | Validates if proper patient is selected
Validates existing data (image datasets in orthogonal planes)
Validates selected treatment site (if applicable)
Validates or performs image registration
Validates if proper structures are contoured correctly.
Contours
missing OAR
Contours targets (GTV, CTV)
Applies margins, and adjusts, if applicable (CTV)
Applies margins and checks PTV
Validation by independent observer/physician.
Contours of OAR and PTV, if applicable also registration of datasets
Discuss treatment proposal
If non standard discuss
If special: discuss planning, aims, tradeoffs [planner, physician, physicist], actually not part of this workflow list. It is described above.
3. Planning | Dosimetrist |  | Check
correct patient,
standard or special planning
Validate treatment setup
Prescription
Targets
OARs
Optimization process
Optimization structures
Objectives
Settings
Goals
Iterate
Validate and check result
Discuss result with pysician
Approval
4. Physicist check | Physicist |  | List with items, depending on you local setup.
Checks before plan is transmitted
5. Plan approval | Physician |  | Check all contoured structures, look if structures are missing
Validate prescribed dose
Review dose distribution in orthogonal planes
Check clinical goals, is proper list selected, are goals met?